S1. Curcuminoid content of C. xanthorriza samples were determined by HPLC

| C. xanthorriza Sample | Cocentration (% w/w) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Bisdemethoxycurcumin | Demethoxycurcumin | Curcumin | Curcuminoid |
| A1 | 0.04 | 0.45 | 0.94 | 1.47 ± 0.04 |
| A2 | 0.04 | 0.47 | 0.99 |  |
| B1 | 0.02 | 0.22 | 0.88 | 1.09 ± 0.03 |
| B2 | 0.02 | 0.21 | 0.84 |  |

S2. Examples of pellet sample for  BaSO4 blank (A), Sudan III (B) and C. xanthorriza (C)

- (B)                                                       (C)

S3. Schematic of reflectance spectrophotometer performance test samples and comparison test results with commercial spectrophotometers.

| Mixture | Mixture of Sudan III Standard dan BaSO4 |  |  | Spectrophotometer Reflectance |  |  |  | Spectrophotometer UV Vis (Shinadzu UV-1800) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | massa Sudan III (g) | massa BaSO4 (g) | Calculated Concentration (%) | Repilcate Sample | Concentration (%b/b) | Average Concentration (%b/b) | Massa Sudan III in 10g Mixture (g) | Replicate Measurement | Absorbance | Concentration (g/mL)* | Average Concentration (g/mL) | Average Concentration in 10 g Mixture solution Larutan (g/mL) | Massa Sudan III in 10g Mixture (g) |
| 1 | 0.0011 | 9.9995 | 0.0110 | Pellet 1.1 | 0.0112 | 0.0121 | 0.0012 | Replicate 1.1 | 0.835 | 12.9 | 12.9 | 128.7 | 0.0013 |
|  |  |  |  | Pellet 1.2 | 0.0121 |  |  | Replicate 1.2 | 0.835 | 12.9 |  |  |  |
|  |  |  |  | Pellet 1.3 | 0.0124 |  |  | Replicate 1.3 | 0.836 | 12.9 |  |  |  |
|  |  |  |  | Pellet 1.4 | 0.0124 |  |  | Replicate 1.4 | 0.835 | 12.9 |  |  |  |
|  |  |  |  | Pellet 1.5 | 0.0123 |  |  | Replicate 1.5 | 0.835 | 12.9 |  |  |  |
| 2 | 0.0010 | 9.9996 | 0.0100 | Pellet 2.1 | 0.0099 | 0.0098 | 0.0010 | Replicate 2.1 | 0.665 | 10.5 | 10.5 | 105.4 | 0.0011 |
|  |  |  |  | Pellet 2.2 | 0.0098 |  |  | Replicate 2.2 | 0.664 | 10.5 |  |  |  |
|  |  |  |  | Pellet 2.3 | 0.0097 |  |  | Replicate 2.3 | 0.665 | 10.5 |  |  |  |
|  |  |  |  | Pellet 2.4 | 0.0098 |  |  | Replicate 2.4 | 0.665 | 10.5 |  |  |  |
|  |  |  |  | Pellet 2.5 | 0.0099 |  |  | Replicate 2.5 | 0.665 | 10.5 |  |  |  |
| 3 | 0.0010 | 9.9996 | 0.0100 | Pellet 3.1 | 0.0098 | 0.0099 | 0.0010 | Replicate 3.1 | 0.668 | 10.6 | 10.6 | 105.9 | 0.0011 |
|  |  |  |  | Pellet 3.2 | 0.0099 |  |  | Replicate 3.2 | 0.668 | 10.6 |  |  |  |
|  |  |  |  | Pellet 3.3 | 0.0099 |  |  | Replicate 3.3 | 0.668 | 10.6 |  |  |  |
|  |  |  |  | Pellet 3.4 | 0.0099 |  |  | Replicate 3.4 | 0.668 | 10.6 |  |  |  |
|  |  |  |  | Pellet 3.5 | 0.0098 |  |  | Replicate 3.5 | 0.668 | 10.6 |  |  |  |

* Calculated using calibration curve y = 0.0731x - 0.1058 (R2= 0.9999)